## Kayakalp AAM-SC
Version KK/HWC-SC/07/24
APS | Kayakalp Clean Hospital
Checklist for Assessment of Ayushman Arogya Mandir Sub Health Centre
The Cleanliness Score Card
| Name of Facility |  | 100 |  |  | Level of Assessment
| Grading |  |  |  |  | Improvement
Thematic Scores
| A. PHC Upkeep |  |  | B. Sanitation & Hygiene |  | C. Waste Management
| 40 |  |  | 40 |  | 40
| D. Infection Prevention & Control |  |  | E. Support Services |  | F. Hygiene Promotion
| 40 |  |  | 24 |  | 20
| G. Beyond Hospital Boundary |  |  | WASH
| 40 |  |  | 100
|  | Theme | Marks Obtained | Total Marks | Score
|  | Water | 8 | 8 | 1
|  | Sanitation and Healthcare Waste | 26 | 26 | 1
|  | Hygiene | 44 | 44 | 1
|  | Management | 6 | 6 | 1
|  | Total | 84 | 84 | 100
Ref. No. | Criteria |  | Assessment Method | Means of Verification |  | Compliance | Remarks | Wash Point
A. | Sub Centre/Ayushmann Arogya Mandir Upkeep
A1 | Pest & Animal Control |  |  |  |  | 4
A1.1 | No stray animals within the facility premises |  | OB/SI | Observe for the presence of stray animals such as dogs, cats, cattle, pigs, etc. within the premises. Also discuss with the facility staff. Also look at the breach, if any, in the boundary wall and presence of secured gate. |  | 2
A1.2 | Pest Control Measures are implemented in the facility |  | SI/RR/OB | Check for the evidence at the facility ( Presence of Pests ,Record of Purchase/availability of Pesticides and availability of the rat trap) and interview the staff. |  | 2
A2 | Landscaping, Gardening & Yoga |  |  |  |  | 4
A2.1 | Surrounding area/ Open spaces are well maintained |  | OB | Check that wild vegetation does not exist. Shrubs and Trees are well maintained. Over grown branches of plants/ tree have been trimmed regularly. Dry leaves and green waste are removed. |  | 2
A2.2 | Demarcated place/room for Yoga is well maintained |  | OB | Check Yoga room/space is available and demarcated. Check space is adequate and clean. |  | 2
A3 | Maintenance of Open Areas |  |  |  |  | 4
A3.1 | Approach walkway from gate to the facility is even and clean |  | OB | Check that walkway is even and non-slippery and well maintained |  | 2
A3.2 | No water logging in open areas |  | OB | Check for water accumulation in open areas because of faulty drainage, pipe leakage, rainwater etc. Look for any stagnant water in tyres, flower pots, etc. |  | 2
A4 | Hospital/Facility –Appearance |  |  |  |  | 4
A4.1 | Walls are well-plastered, painted and name of the facility is displayed |  | OB | Check that the wall plaster (internal and External wall) is not chipped off and the building is painted with yellow colour wall & Brown colour windows. The paint has not faded away. The name of the Centre is prominently displayed. |  | 2 |  | Hygiene
A4.2 | Branding of Ayushman Aarogaya Mandir has been under taken as per current guideline. |  | OB | Check for:- 1- Outer surface of the building is yellow with specified shade. 2- Windows & their frame in the brown specified shade. 3- Six illustrations drawn on the façade. 4- Logo of NHM and Ayushman Bharat. |  | 2
A5 | Infrastructure Maintenance |  |  |  |  | 4
A5.1 | Facility Infrastructure is well maintained |  | OB | No major cracks, seepage, chipped plaster & floors in the Centre. Periodic Maintenance is done. |  | 2
A5.2 | Centre has intact boundary wall/Fencing and functional gates at entry |  | OB | Check that there is a proper boundary wall/fencing of adequate height without any breach. Check that there is no rusting of the gates. All the gates (entry, exit or any other gates) are painted and functional. |  | 2 |  | Hygiene
A6 | Illumination |  |  |  |  | 4
A6.1 | Adequate illumination in inside and outside of the Centre |  | OB | Check for Adequate lighting arrangements through natural light or electric bulbs(CFL/LED) inside Centre . Check that Centre front, entry gate and access road are well illuminated. |  | 2 |  | Hygiene
A6.2 | Use of energy efficient bulbs |  | OB | Check thatCentre uses energy efficient bulb like CFL or LED for lighting purpose within the Centre Premises |  | 2
A7 | Maintenance of Furniture & Fixture |  |  |  |  | 4
A7.1 | Window and doors are maintained |  | OB | Check, if Window panes are intact, and provided with Grill/ Wire Meshwork. Doors are intact and painted /varnished. |  | 2
A7.2 | furniture and fixtures are in good condition. |  | OB | Check that the Examination table, foot Step, Table, Chair, stool, etc., are not rusted and are painted. The mattresses are clean and not torn Almirah, Fans, Tube lights etc., are well maintained( As applicable) |  | 2
A8 | Removal of Junk Material |  |  |  |  | 4
A8.1 | No junk material within centre premises |  | OB | Check if unused/ condemned articles, and outdated records are kept in the haphazard manner. |  | 2
A8.2 | Centre has system for removing junk materials |  | OB/SI | Check for any system of removing junk from Centre with support from PHC |  | 2
A9 | Water Conservation |  |  |  |  | 4
A9.1 | Piped water supply is adequate in Quantity & Quality |  | OB | (1) Check for leaking taps, pipes, over-flowing tanks and dysfunctional cisterns. (2) Over-head tank is covered. |  | 2 |  | Water
A9.2 | Check if the facility has rain-water harvesting system |  | SI/OB | Check for its functionality and storage system |  | 2
A10 | Work Place Management |  |  |  |  | 4
A10.1 | The Staff periodically sorts useful and unnecessary articles at work station |  | SI/OB | Ask the Staff, how frequently they sort and remove unnecessary articles from their work place.. Check for presence of unnecessary articles. |  | 2
A10.2 | The Staff arranges the useful articles, records in systematic manner and label them |  | SI/OB | Check if drugs, instruments, records are not lying in haphazard manner and kept near to point of use in systematic manner. The place has been demarcated for keeping different articles Check that drugs, instruments, records, etc. are labelled for facilitating easy identification. |  | 2
B | Sanitation & Hygiene
B1 | Cleanliness of Circulation Area (Corridors, Patient Waiting area) |  |  |  |  | 4
B1.1 | No dirt,grease,stains, cobwebs, bird nest, dust, vegetation on walls and roof in the circulation area |  | OB | Check that floors and walls of Corridors, Waiting area etc for any visible or tangible dirt, grease, stains, etc. Check that roof, walls, corners of Corridors, Waiting area for any Cobweb, Bird Nest, etc. |  | 2 |  | Hygiene
B1.2 | Corridors are cleaned at least once in the day with wet mop |  | SI/OB | Ask the staff about frequency of cleaning in a day. |  | 2
B2 | Cleanliness of Clinic room |  |  |  |  | 4
B2.1 | No dirt,grease,stains, cobwebs, bird nest, dust, vegetation on walls and roof in the Clinic room |  | OB | Check floors and walls of the clinic room for any visible or tangible dirt, grease, stains, etc. Check that roof, walls, corners of clinic for any Cobweb, Bird Nest, vegetation, etc. |  | 2 |  | Hygiene
B2.2 | Clinic room is cleaned at least once in a day with wet mop |  | OB/SI | Ask staff about frequency of cleaning in a day. |  | 2
B3 | Cleanliness of Procedure Areas (Laboratory/Diagnostic) |  |  |  |  | 4
B3.1 | No dirt,grease,stains, cobwebs, bird nest, dust, vegetation on walls and roof in the procedure area |  | OB | Check that floors and walls of storage for any visible or tangible dirt, grease, stains, etc. Check roof, walls, corners of these area for any cobweb, bird nest, vegetation, etc. |  | 2 |  | Hygiene
B3.2 | Procedure area are cleaned at least once in a day and as required |  | OB/SI | Ask staff about frequency of cleaning in a day |  | 2
B4 | Cleanliness of Storage Space |  |  |  |  | 4
B4.1 | No dirt, grease, stains, cobwebs, bird nest, dust, vegetation on walls and roof in the storage space. |  | OB | Check that floors and walls of storage for any visible or tangible dirt, grease, stains, etc. Check roof, walls, corners of these area for any cobweb, bird nest, vegetation, etc. |  | 2 |  | Hygiene
B4.2 | Storage space are cleaned at least once in the day with wet mop |  | OB/SI | Ask staff about frequency of cleaning in a day |  | 2
B5 | Cleanliness of Roof top |  |  |  |  | 4
B5.1 | No dirt, cobwebs, bird nest, junk articles on roof top |  | OB | Check roof top of the Centre for any dirt, Cobweb, Bird Nest, etc. Check for any junk articles on roof top |  | 2 |  | Hygiene
B5.2 | Roof top are cleaned at least once in the month |  | SI/OB | Ask staff about frequency of cleaning |  | 2
B6 | Cleanliness of Toilets |  |  |  |  | 4
B6.1 | No dirt/Grease/Stains/ Garbage in Toilets |  | OB | Check the toilets randomly for any visible dirt, grease, stains, or water accumulation in the toilets Check for any foul smell in the Toilets Floors of Toilets are dry, crack free and without residue water accumulation |  | 2 |  | Hygiene
B6.2 | Separate male & female toilets have running water and functional cistern |  | OB/SI | Check availability of separate male and female toilets Ask staff to operate cistern and water taps |  | 2 |  | Water
B7 | Use of standards materials and Equipment for Cleaning |  |  |  |  | 4
B7.1 | Availability of Detergent Disinfectant solution / Hospital Grade Phenyl for Cleaning purpose |  | SI/OB/RR | Check for good quality cleaning solution preferably an ISI mark. Composition and concentration of solution is written on label. Check with staff if they are getting adequate supply. Verify the consumption records. Check, if the cleaning staff is aware of correct concentration and dilution method for preparing cleaning solution. |  | 2 |  | Hygiene
B7.2 | Availability of Cleaning equipment |  | SI/OB | Check the availability of mops, brooms, collection buckets etc. as per requirement. |  | 2 |  | Hygiene
B8 | Use of Standard Methods for Cleaning |  |  |  |  | 4
B8.1 | Use of Two bucket system for cleaning |  | SI/OB | Check if cleaning staff uses two bucket system for cleaning. One bucket for Cleaning solution, second for wringing the mop. Ask the cleaning staff about the process, Disinfection and washing of mops after every cleaning cycle |  | 2
B8.2 | Use unidirectional method and out word mopping |  | SI/OB | Ask cleaning staff to demonstrate the how they apply mop on floors. It should be in one direction without returning to the starting point. The mop should move from inner area to outer area of the room. |  | 2 |  | Hygiene
B9 | Monitoring of Cleanliness Activities |  |  |  |  | 4
B9.1 | Monitoring of cleanliness by Community Health officer (CHO) on daily basis |  | OB/RR | Ask Community Health officer (CHO) about monitoring mechanism of cleanliness. Check for records |  | 2
B9.2 | Periodic Monitoring of Housekeeping and Bio medical waste management activities |  | SI/RR | Periodic Monitoring is done by MOIC or trained designated person. Please check record of such monitoring |  | 2 |  | Sanitation and Healthcare Waste
B10. | Drainage and Sewage Management |  |  |  |  | 4
B10.1 | Availability of drainage and sewage system |  | OB/SI | Centre has a functional septic tank and soak pit within the premises. |  | 2
B10.2 | No blocked/ over-flowing drains in the facility |  | OB/SI | Observe that the drains are not overflowing or blocked and they are covered. |  | 2
C | Waste Management
C1 | Segregation of Biomedical Waste |  |  |  |  | 4
C1.1 | Segregation of BMW is done as per BMW management rule 2016 including key changes as amendments |  | OB/SI | General & Biomedical Waste are not mixed together. Display of work instructions for segregation and handling of Biomedical waste |  | 2 |  | Sanitation and Healthcare Waste
C1.2 | Check if the staff is aware of segregation protocols |  | SI | Ask staff about the segregation protocol (Red bag for re-cyclable, Glassware into puncture proof and leak proof boxes and container with blue marking, etc.) |  | 2
C2 | Collection and Transportation of Biomedical Waste |  |  |  |  | 4
C2.1 | Centre waste is collected and transported in safe manner |  | OB | Check for records of linkage with CWTF operator or has functional deep burial pits within the facility which has approval of the prescribed authority. |  | 2
C2.2 | The waste is transported in closed bag |  | OB | Check availability of bag for transportation of waste. |  | 2
C3 | Sharp Management |  |  |  |  | 4
C3.1 | Disinfection of Broken / Discarded Glassware is done as per recommended procedure |  | OB/SI/ RR | Check such waste is pre-treated either with 1-2% Sodium Hypochlorite for 30 minutes and sent for recycling |  | 2
C3.2 | Sharp Waste is stored in Puncture proof containers |  | OB/SI | Check availability of Puncture & leak proof container (White Translucent) at point of use for storing needles, syringes with fixed needles, needles etc. |  | 2
C4 | Storage of Biomedical Waste |  |  |  |  | 4
C4.1 | BMW should not be stored more than recommended time |  | OB | Check if facility has functional Deep burial and sharp pit, they should dispose BMW on daily basis/ Facility having linkage with CTF should not store BMW more than 48 hours |  | 2
C4.2 | Facility for storage of BMW |  | SI/RR | Facility with deep burial and sharp pit not required any storage facility/ Facility with linkage to CTF requires an isolated place with separate bins for storage of BMW |  | 2 |  | Sanitation and Healthcare Waste
C5 | Disposal of Biomedical waste |  |  |  |  | 4
C5.1 | AAM- SC has adequate facility for the disposal of Biomedical waste |  | RR/OB/SI | The Health facility within 75 KM of CTF shall have a valid contract with a Common Treatment facility for disposal of Bio medical waste. Or else facility should have Deep Burial Pit and Sharp Pit within premises of Health facility. Such deep burial pit should have approval of the Prescribed Authority and constructed as pe the specifications given in Schedule-II, Standards for Deep burial given in Bio-Medical Waste Management Rules 2016 |  | 2 |  | Sanitation and Healthcare Waste
C5.2 | Recyclable waste is disposed as per procedure given in the Bio-Medical Waste Management Rules, 2016* |  | OB/SI | Check management of IV Bottles (Plastic), Syringes, etc. (shredding/mutilation or a combination of sterilization and shredding and handed over to registered recyclers are ensured after linkage with block PHC/CHC). |  | 2
C6 | Management Hazardous Waste |  |  |  |  | 4
C6.1 | Staff is aware of Mercury Spill management |  | SI/OB | Ask staff what he/she would do in case of Mercury spill. (If facility is mercury free, give full compliance) |  | 2
C6.2 | Availability of Mercury Spill Management Kit |  | SI | Check availability of Mercury Spill Management Kit.(If facility is mercury free, give full compliance) |  | 2
C7 | Solid General Waste Management |  |  |  |  | 4
C7.1 | Disposal of General Waste |  | OB/SI | There is a mechanism of removal of general waste from the facility and its disposal. |  | 2
C7.2 | The facility has introduced innovations in managing General Waste |  | OB/SI/ RR | Look for efforts of the health facility in managing General Waste, such as Recycling of paper waste, vermicomposting, waste to energy initiative, etc. |  | 2 |  | Sanitation and Healthcare Waste
C8 | Liquid Waste Management |  |  |  |  | 4
C8.1 | Facility has provision of liquid waste management |  | OB/SI/ RR | Check for onsite provision of liquid waste disinfection set-up |  | 2 |  | Sanitation and Healthcare Waste
C8.2 | Liquid waste is made safe before mixing with other waste water |  | OB/SI | Check for the procedure - staff interview and direct observation |  | 2
C9 | Equipment and Supplies for Bio Medical Waste Management |  |  |  |  | 4
C9.1 | Availability of Bins and non-chlorinated liners for segregation of waste at point of use |  | OB/SI | 1. Check for availability bins and non-chlorinated plastic bags/liners of appropriate size at each point of generation for Biomedical waste 2. Check for adequate availability of bins and liners |  | 2 |  | Sanitation and Healthcare waste
C9.2 | Equipment and Supplies for Infection control & Bio Medical Waste Management |  | OB/SI | 1. Availability of PPE 2. Availability of Needle/ Hub cutter and puncture-proof boxes 3. There is no stockout of PPE |  | 2 |  | Sanitation and Healthcare Waste
C10 | Statuary Compliances |  |  |  |  | 4
C10.1 | Centre has a valid authorization for Bio Medical waste Management from the prescribed authority |  | RR | Check for the validity of authorization certificate |  | 2
C10.2 | Centre maintains records, as required under the Bio-Medical Waste Management Rules, 2016* |  | RR | Check following records - a. Annual report submission b. Yearly Health Check-up record of all handlers c. BMW training records of all staff (once in year training) d. Immunisation records |  | 2
D | Infection Prevention & Control
D1 | Hand Hygiene |  |  |  |  | 4
D1.1 | Availability of Sink and running water at point of use |  | OB | Check for washbasin with functional tap, soap and running water at all points of use |  | 2 |  | Hygiene
D1.2 | Staff is adheres to hand washing protocol |  | SI | 1. Check display of Handwashing Instructions 2. Ask facility staff to demonstrate steps of hand wash 3. Check staff is aware of 5 moments of hand washing (before touching a patient, before a procedure, after a procedure or body fluid exposure risk, after touching a patient, after touching a patient's surroundings) |  | 2 |  | Hygiene
D2 | Personal Protective Equipment (PPE) |  |  |  |  | 4
D2.1 | Use of Gloves during procedures and examination |  | SI/OB | Check, if the staff uses gloves during examination, and while conducting procedures |  | 2 |  | Hygiene
D2.2 | Use of Masks, gloves and aprons |  | SI/OB | Check, if staff uses mask, gloves, aprons as applicable |  | 2 |  | Hygiene
D3 | Personal Protective Practices |  |  |  |  | 4
D3.1 | The staff is aware of use of gloves, when to use (occasion) and its type |  | SI/OB | Check with the staff when do they wear gloves, and when gloves are not required. The Staff should also know difference between clean & sterilized gloves and when to use |  | 2
D3.2 | No re-use of disposable personal protective equipment |  | SI/OB | Check that disposable gloves and mask are not re-used. Reusable Gloves and mask are used after adequate sterilization. |  | 2
D4 | Decontamination and Cleaning of Instruments |  |  |  |  | 4
D4.1 | Staff knows how to make Chlorine solution |  | SI | Ask the staff about the procedure of making chlorine solution and its frequency |  | 2 |  | Hygiene
D4.2 | Decontamination of instruments and Surfaces like examination table, dressing tables etc. |  | SI/OB | Check whether instruments are decontaminated with 0.5% chlorine solution for 10 minutes. Check instruments are cleaned thoroughly with water and soap before sterilization Ask staff when and how they clean the surfaces either by chlorine solution or Disinfectant like carbolic acid |  | 2 |  | Hygiene
D5 | Reprocessing of reusable instruments and equipment |  |  |  |  | 4
D5.1 | Adherence to Protocols for items that come in contact with intact skin |  | SI/OB/RR | Check reusable instruments like thermometer, Stethoscope etc. are free from visible contamination and they are washed with soap and water before use. |  | 2
D5.2 | Adherence to Protocol for High Level disinfection |  | SI/OB | Check with the staff process about of High Level disinfection using Boiling for 20 minutes with lid on, OR soaking in 2% Glutaraldehyde/Chlorine solution for 20 minutes. |  | 2 |  | Hygiene
D6 | Spill Management |  |  |  |  | 4
D6.1 | Staff is aware of management of small spills |  | SI | Check for adherence to protocols |  | 2
D6.2 | Spill management protocols are displayed at points if use |  | SI/OB | Check for display |  | 2
D7 | Isolation and Barrier Nursing |  |  |  |  | 4
D7.1 | Infectious patients are separated from other patients |  | OB/SI | Check patients with respiratory infectious cases are separated from general patients in clinic room. |  | 2
D7.2 | Staff is aware about Standard Precautions |  | OB | Ask staff about Standard precautions and how they adhere to it. |  | 2
D8 | Infection Control Program |  |  |  |  | 4
D8.1 | Monitoring of infection control practices |  | RR/SI | Check if the Centre has a system to monitor infection control practices by Community Health Officer (CHO), Village Health Sanitation and Nutrition Committee for at least in a month. |  | 2
D8.2 | Immunization and medical check-up of Service Providers |  | RR/SI | Check the record of staff, immunised against Td, Hepatitis B and medical check-up is done at least once a year. |  | 2
D9 | Surveillance Activity |  |  |  |  | 4
D9.1 | Surveillance activity at the centre |  | RR/SI | 1. Check for surveillance about any abnormal increase in cases of diarrhoea/dysentery, fever with rigors, fever with rash, fever with jaundice or fever with unconsciousness etc. 2. Check the system in place for early reporting to the concerned PHC as per IDSP/IHIP guidelines. |  | 2
D9.2 | Facility reports all notifiable diseases and events |  | RR/SI | Check facility has list of all notifiable disease needs immediate/periodic reporting to higher authority. Check records that notifiable disease have been reported in program such as IDSP and AEFI Surveillance. |  | 2
D10 | Environment Control |  |  |  |  | 4
D10.1 | The HWC building is well-ventilated & have arrangement for cross-ventilation |  | OB/SI | Check availability of Fans/ air conditioning/ Heating/ exhaust/ Ventilators as per environment condition and requirement |  | 2
D10.2 | Preventive measures for airborne infections have been taken |  | OB/SI | Check location of the Centre , it should be away from Garbage dump Cattle shed, Stagnant pool, Pollution from industry |  | 2
E | SUPPORT SERVICES
E1 | Laundry Services & Linen Management |  |  |  |  | 4
E1.1 | Hygiene and quality of linen is maintained |  | RR/SI | Check linen such as table cloth, bedsheets, curtains etc. are clean and spotless. Linen not torn or damaged |  | 2
E1.2 | Arrangements for washing linens |  | OB/SI | Check facility has in-house or outsourced arrangements for washing linens at least once in a week. |  | 2
E2 | Water Sanitation |  |  |  |  | 4
E2.1 | The facility receives adequate quantity of water as per requirement |  | RR/SI/PI | Water is available on 24x7 basis at all points of usage |  | 2 |  | Water
E2.2 | There is storage tank for the water and tank is cleaned periodically |  | RR | (1) The Centre have capacity to store at least three days of water requirement. (2) Water tank is cleaned at six monthly interval and records are maintained. (3) Check that the area drinking water points are accessible to all (4). The area around the taps is fenced, making the tap stand area safe and inaccessible to the animals |  | 2 |  | Water
E3 | Storage Space |  |  |  |  | 4
E3.1 | Medicines are arranged systematically |  | OB/SI | Check all the shelves/racks containing medicines are labelled in Storage and drug store. Heavy items are stored at lower shelves/racks Fragile items are not stored at the edges of the shelves Drugs and consumables are stored away from water and sources of heat, direct sunlight etc. Drugs are not stored at floor and adjacent to wall |  | 2
E3.2 | Cold storage equipment's are clean and managed properly |  | OB | Check refrigerators / Ice packs are clean Check if there is a practice of regular cleaning. Cold box are not been used for purpose other than storing drugs and vaccines. |  | 2
E4 | Housekeeping services |  |  |  |  | 4
E4.1 | Routine Cleaning of the facility at least once in a day |  | OB/RR | Wet mopping is done at least once in a day, preferably before the OPD hours |  | 2
E4.2 | Thorough Cleaning of the facility fortnightly |  | SI/RR | Thorough cleaning with warm water and soap/detergent |  | 2
E5 | Outreach Services |  |  |  |  | 4
E5.1 | Biomedical waste generated during outreach session are transported to the centre on the same day |  | RR/SI | Check the records and ask staff the method followed to transport the Bio medical waste from the outreach session |  | 2
E5.2 | Reporting PHC monitor cleanliness and hygiene of outreach sessions and the center |  | RR/ SI | Check records that reporting PHC staff/In charge has checked cleanliness and hygiene of the centre and its outreach session at least monthly basis. |  | 2
E6 | Patient Convienances |  |  |  |  | 4
E6.1 | Availability of adequate number of toilets |  | SI/RR | 1. Check for 1 or more toilets in the outpatient setting 2. Availability of separate toilet for staff in proximity to the duty area. 3. Provision for sanitary napkins to ensure menstrual hygiene needs |  | 2 |  | Sanitation and Healthcare Waste
E6.2 | Availability of hand hygiene stations near the toilets |  | OB | Check for availability of functional hand hygiene area within 5 meter of the toilets |  | 2 |  | Sanitation and Healthcare Waste
F | Hygiene Promotion
F1 | Community Monitoring & Patient Participation |  |  |  |  | 4
F1.1 | Patients are made aware of their responsibility of keeping the health facility clean |  | PI/OB | Ask patients about their roles & responsibilities with regards to cleanliness. Patient’s responsibilities should be prominently displayed |  | 2
F1.2 | Patient rights and responsibility are displayed |  | SI/RR/OB | Check for IEC regarding the role and responsibility |  | 2
F2 | Information Education and Communication |  |  |  |  | 4
F2.1 | IEC regarding importance of Hygiene practices are displayed |  | OB | Check IEC regarding hand washing, water sanitation, use of toilets are displayed in local language |  | 2 |  | Hygiene
F2.2 | IEC regarding Swachhta Abhiyan/water pollution/reuse of water etc. is displayed within the facilities’ premises |  | OB | Should be displayed prominently in local language |  | 2
F3 | Leadership and Team work |  |  |  |  | 4
F3.1 | Staff worked as a team to improve sanitation and hygiene of the facility |  | SI/OB | (1) Ask staff about sanitation and hygiene (2) Roles and responsibilities of different members are assigned and communicated (3) Check members are aware of their roles and responsibilities |  | 2
F3.2 | Facility has a system of reviewing and improving the gaps identified for cleanliness and Biomedical waste management, including WASH |  | SI/RR | 1) The committee check and review the cleanliness and Biomedical Waste management compliance regularly (2) All the non-compliance are enumerated, and improvement plans are prepared and action is taken |  | 2 |  | Management
F4 | Training and Capacity Building and Standardization |  |  |  |  | 4
F4.1 | Infection control & Bio medical waste Management training has been provided to the staff |  | SI/RR | Verify with the training records. Check staff are trained at the time of induction and at least once in every year |  | 2 |  | Sanitation and Healthcare Waste
F4.2 | PHC has documented Standard Operating procedures for Cleanliness, Bio-Medical waste management, Infection Control and procurement of PPE |  | RR | Check availability of SOP with respective users |  | 2
F5 | Staff Hygiene and Dress Code |  |  |  |  | 4
F5.1 | Check facility has adequate staff for maintaining cleaning activities |  | SI/RR | Check facility has adequate staff for maintaining cleanliness, hygiene and bio-medical waste management activities |  | 2 |  | Management
F5.2 | Check the dress code policy is defined and mechainism in place to check regular monitoring of the hygiene of staff |  | BO/RR | (1) Check dress code policy is available and adhered to. (2) Check about personal hygiene and clean dress of staff |  | 2 |  | Management
0
1
2
G | Beyond Hospital Boundary
G1 | Promotion of Swachhata & Coordination with Local bodies |  |  |  |  | 10
G1.1 | Local community actively participates in VISHWAS campaign |  | RR/SI | Check for activities carried out under the leadership of VHSNCs for improving water, sanitation and hygiene situation during VISHWAS campaign. |  | 2
G1.2 | Implementation of IEC activities related to 'Swachh Bharat Abhiyan' |  | OB/RR/SI | Check for any pamphlets/Posters/wall writing-promoting use of toilets, hand washing, safe drinking water and tree plantation etc. |  | 2
G1.3 | The Facility coordinates with local Gram Panchayat and NGOs for improving the sanitation and hygiene |  | RR/SI | Look for evidence of collective action for improving water, sanitation and hygiene. |  | 2
G1.4 | The Facility coordinates with other departments for improving Swachhata |  | RR/SI | Look for evidence of coordination with departments such as Education (school programs on sanitation and hygiene promotions), Jal Shakti & PWD (Repair & Maintenance), Forest Department (Plantation Drive) etc. which contributes strengthening towards of hygiene & sanitation |  | 2
G1.5 | HWC undertake sanitation and hygiene promotion activities to generate awareness in community |  | SI/RR | 1. Look for evidence of collective action such as rallies, marathons, Swachhata walk, street plays/Nukar Natak/ drawing competitions, Plantation drives, etc., in their catering areas. 2. Check that such drives are planned and conducted on World Environment Day (5 June). or Earth Day (22 April ) with the help of JAS/ local community |  | 2
G2 | Cleanliness of approach road and surrounding area |  |  |  |  | 10
G2.1 | Area around the facility is clean, neat & tidy |  | OB | Check for any litter/garbage/refuse and water logging in the surrounding area of the facility. |  | 2
G2.2 | On the way signages are available |  | OB/SI | Check for directional signage with name of the facility on the approach road. |  | 2
G2.3 | Approach road is clean and even |  | OB/SI | Check that approach road are clean and even |  | 2
G2.4 | All drain and sewer are covered. |  | OB | Check for overflowing drains surrounding the facility. |  | 2
G2.5 | Functional street lights are available along the approach road |  | OB/SI | Check for street lights and their functionality. |  | 2
G3 | Aesthetics and amenities of Surrounding area |  |  |  |  | 10
G3.1 | Parks and green areas of surrounding area are well maintained |  | OB/SI | Check that there no wild vegetation & growth in the surroundings. Shrubs and trees are well maintained. Dry leaves and green waste are removed regularly. |  | 2
G3.2 | No unwanted/broken/ torn / loose hanging posters/ billboards. |  | OB | Check that facility surrounding are not studded with irrelevant and out dated posters, slogans, wall writings, graffiti, etc., loose hanging wires etc. |  | 2
G3.3 | Exterior of hospital boundary wall is painted and maintained |  | OB/SI | (1) The exterior of the boundary wall is clean, free from solid waste, stagnant water, no animal and human faeces in and around the boundary wall (2) Exterior of the boundary walls are painted innovatively, displaying messages of cleanliness, hygiene & Go Green concept etc |  | 2 |  | Hygiene
G3.4 | Availability of public toilets in surrounding area |  | OB/SI | Check for separate toilets for male and female and they are conveniently located and clean. Check that no foul smell in toilets |  | 2 |  | Sanitation and Healthcare Waste
G3.5 | Availability of adequate parking stand in surrounding area |  | OB/SI | Check for parking stand for auto/ rickshaw/taxi etc., and they are not parked haphazardly. |  | 2
G4 | Maintenance of surrounding area and Waste Management |  |  |  |  | 10
G4.1 | Availability of bins for General recyclable and biodegradable wastes |  | OB | Check availability adequate number of bins for Biodegradable and recyclable general waste in the nearby area. |  | 2 |  | Sanitation and Healthcare waste
G4.2 | Availability of garbage storage area |  | OB | Garbage storage area is away from residential/commercial areas and is covered/fenced. It is not causing public nuisance. |  | 2
G4.3 | Innovations in managing waste |  | OB/SI | Check, if certain innovative practices have been introduced for managing general waste e.g. Vermicomposting, Re-cycling of papers, Waste to energy, Compost Activators, etc. |  | 2
G4.4 | Surrounding areas are well maintained |  | OB | Check that there is no over grown shrubs, weeds, grass, potholes, bumps etc. in surrounding areas |  | 2 |  | Hygiene
G4.5 | Regular repairs and maintainance of roads |  | OB/SI/RR | Check current condition of the road |  | 2
* BMW management 2016, 2018 & 2019 Rules and CPCB guidelines 2022