## Slide 1: WORK PRACTICE CONTROLS
Dr Anu George

## Slide 2: What are Work Practice Controls??
Behavioural changes to adapt to standard procedures
Altering the way in which a task is performed and reducing the likelihood of exposure

## Slide 4: Who all are involved?
Technical Responsibilities
Technical: Supervisory
Technical: Bench level
House-keeping

## Slide 5: Technical: Supervisory Team (HODs, Doctors…)
  Enable a safety System in their area
  Understand the standard practices
  Protocol every aspect
  Train the bench-level staff
  Train housekeeping staff
  Monitor and evaluate
  Liaison with the upper management
  Ensure emergency response measures
  Ensure Vaccinations
  Ensure Post Exposure Prophylaxis

## Slide 6: Technical: Bench Level
  Understand the hazards
  Follow safe protocols in every aspect of their work
  Understand emergency protocols
  Understand location and operation of safety and emergency equipment
  Understand emergency reporting procedures
  Train new staff

## Slide 7: Technical: Housekeeping
Understand and comply with institutional rules for environment cleaning and decontamination
Understand and comply with Bio-Medical Waste Management rules
Report Accidents

## Slide 8: Work Practice Controls: Bio-Safety
Follow Standard Precautions
Vaccinations
Post Exposure Prophylaxis
Safe Work Practices to reduce aerosols
Bio-risk assessment
Optimum use of Biosafety cabinets
Understand Hospital Associated Infections, Anti Microbial resistance
Hospital antibiotic Policies and Antibiograms
Training

## Slide 9: Standard Precautions
Hand hygiene
Personal Protective Equipment
Gloves.
Facial protection
Gown
Prevention of NSIs
Respiratory hygiene and cough etiquette
Linens Handling, transport
Waste disposal
Patient care equipment
Environmental cleaning including Spillages

## Slide 10: Work Practice Controls: Chemical Safety
Understand your chemicals
Have a labeling system
Have an MSDS Library
Restricting Inventory
Mitigation Strategies
Safe Storage
Safe Disposal
Training

## Slide 11: Work Practice Controls: Fire Safety
Preventing fires
Fire Fighting equipment; availability
Fire training
Types of fire and the extinguishers to be used
Handling emergencies
Evacuation Protocols

## Slide 12: Work Practice Controls: Electrical Safety
Understand the basics of electricity
Understanding the effects of electricity on human body
Applying control mechanisms like grounding, circuit breakers, Ground Fault Circuit Interrupters
Electricity Training

## Slide 13: Work Practice Controls: Glassware Safety
Selecting glassware
Safe handling
Working with glassware in vacuum / under pressure, heat /cold
Cleaning glassware
Disposal and spill clean up

## Slide 14: Work Practice Controls: Equipment Safety
Understanding the equipment
Understanding the inbuilt safety features
Understanding the hazards
Safe operations

## Slide 15: Work Practice Controls: Physical & Compressed Gas Safety
Understanding the mechanical hazards in your lab and facility
Remedial and preventive measures
Compressed gas; storage and transportation

## Slide 16: Work Practice Controls: Pest Control
Engineering Controls
Integrated Pest management
Building Maintenance Protocols

## Slide 17: Work Practice Controls Reporting
All injuries or unusual incidents should be reported immediately to the supervisor
Encourage Reporting
Investigate Incidents/Accidents/ Non- Conforming Events

## Slide 18: Work Practice Controls Safety Plan, Audits

## Slide 19: Barriers to Safety: An International Study

## Slide 23
THANK YOU